Creating An HP VEE Secured Runtime

March 18, 1998

HP Contact: Eric Littlefield 800/452-4844

Scope

This procedure explains the steps necessary to create a secured runtime in HP VEE.  This procedure also explains how to get the main operator interface panel to line up properly in the upper left-hand corner of the screen (0,0) and set the resolution.

# Procedure

- In HP VEE, create the Main Panel.  Make sure it’s physically large enough in the edit window to cover the entire screen when in runtime.  (The Toolbars and Program Explorer will not show up in Runtime so the Main Panel must be large enough to compensate for this.)  Save the program as a Secured Runtime (i.e. Edit…..Save Secured Runtime (.vxe)…).  Note its complete path, i.e., C:\vxe\xxxxx.

- Locate “VeeRun.exe”  using NT 4.0’s “Start…Find…” utility.  Create a shortcut for VeeRun.exe to the desktop by right clicking on the “VeeRun.exe” filename.

- Change the name of this shortcut to the name of the VEE test program (which should be the board assembly P/N).

- Right click on the new shortcut on the desktop.  Select the SHORTCUT tab.

- Under TARGET there will be a path in quotes.  After the quotes add the following:

“C:\Program Files\Hewlett-Packard\VEE4.0\veerun.exe” –geometry 1024x768+0+0 C:\vxe\48540.vxe

sp               sp   mon.res. off.      dir.    tp.

sp = 	    Include these spaces when typing in the parameters. Do not forget the “Dash”

preceding “geometry”.

mon.res = The current monitor resolution, (for example, 1024x768).

off. = 	   This is the position of the upper left hand corner of the main panel.  +0,+0 aligns it with

the Windows upper left hand corner. (Horiz. Offset, Vert. Offset)

dir. = 	   The directory path in which the secured runtime is located.

tp  =	   The name of the VEE test program.

Secured Runtime.doc